## Global
Unnamed: 0 | Name | Type | Address | Controller | Crate | Clock source | Clock Freq | Buffer Size (Eventes) | Sync Method
| Sis3316_125_0xCC | SIS3316 | 3 | 192.168.10.12 | 0 | Internal | 62 | 1000000

## Hard_Sis3316_125_0xCC
Unnamed: 0 | Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time.1 | Gap Time.1 | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | Norte_Poly_12 | 1 | 45 | 15 | 1800 | 350 | 1000 | 220 | 150 | 30000 | 0 | 0 | 0 | 350 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | NorEste_Poly_10 | 1 | 45 | 15 | 530 | Force by 0 | Force by 0 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | Este_BHDPE_20 | 1 | 45 | 15 | 700 | Force by 0 | Force by 0 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | Sur_Este_919 | 1 | 45 | 15 | 630 | Force by 0 | Force by 0 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 4 | Sur_PbBHDPE10 | 1 | 45 | 15 | 670 | 350 | 1000 | 220 | 150 | 30000 | 0 | 0 | 0 | 350 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | SurOeste_15HDPE | 1 | 45 | 15 | 550 | Force by 4 | Force by 4 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 6 | Oeste_20HDPE | 1 | 45 | 15 | 550 | Force by 4 | Force by 4 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 7 | Naked | 1 | 45 | 15 | 540 | Force by 4 | Force by 4 | 220 | 150 | 30000 | 0 | 0 | 0 | Force by 4 | Force by 4 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 50000 | 1 | 0 | 0 | 0 | 0 | 1 | 300000 | 0 | 0 | 0 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4 | Force by 4
| 8 | BF31 | 1 | 10 | 5 | 500 | 100 | 2000 | 300 | 50 | 25000 | 0 | 0 | 0 | 350 | 0 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 1 | 10000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | BF32 | 1 | 10 | 5 | 500 | Force by 8 | Force by 8 | 300 | 50 | 25000 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 1 | 10000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 10 | BF33 | 1 | 10 | 5 | 500 | Force by 8 | Force by 8 | 300 | 50 | 25000 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 1 | 10000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8
| 11 | BF34 | 1 | 10 | 5 | 500 | Force by 8 | Force by 8 | 300 | 50 | 25000 | 0 | 0 | 0 | Force by 8 | Force by 8 | - | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 1 | 10000000 | 0 | 0 | 0 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8 | Force by 8

## Cal_Sis3316_125_0xCC
Calibration
Name | Type | Hard Source | Par Source | Range Min | Range Max | Bins | Cal Factor | Cal Offset | Units | Make Hist
Norte_Poly_12_Cal | CalSpec | Norte_Poly_12 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
NorEste_Poly_10_Cal | CalSpec | NorEste_Poly_10 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
Este_BHDPE_20_Cal | CalSpec | Este_BHDPE_20 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
Sur_Este_919_Cal | CalSpec | Sur_Este_919 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
Sur_PbBHDPE10_Cal | CalSpec | Sur_PbBHDPE10 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
SurOeste_15HDPE_Cal | CalSpec | SurOeste_15HDPE | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
Oeste_20HDPE_Cal | CalSpec | Oeste_20HDPE | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
Naked_Cal | CalSpec | Naked | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
BF31_Cal | CalSpec | BF31 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
BF32_Cal | CalSpec | BF32 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
BF33_Cal | CalSpec | BF33 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1
BF34_Cal | CalSpec | BF34 | EFIR | 0 | 15000 | 15000 |  |  | Energy [keV] | 1

## Condition
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
Norte_Poly_12_CR_15min | TimeEL | Norte_Poly_12_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
NorEste_Poly_10_CR_15min | TimeEL | NorEste_Poly_10_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Este_BHDPE_20_CR_15min | TimeEL | Este_BHDPE_20_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Sur_Este_919_CR_15min | TimeEL | Sur_Este_919_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Sur_PbBHDPE10_CR_15min | TimeEL | Sur_PbBHDPE10_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
SurOeste_15HDPE_CR_15min | TimeEL | SurOeste_15HDPE_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Oeste_20HDPE_CR_15min | TimeEL | Oeste_20HDPE_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Naked_CR_15min | TimeEL | Naked_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
BF31_CR_15min | TimeEL | BF31_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
BF32_CR_15min | TimeEL | BF32_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
BF33_CR_15min | TimeEL | BF33_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
BF34_CR_15min | TimeEL | BF34_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 1.7778e-10 | 15 min | 1 | 1 | Counts per 15 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
Norte_Poly_12_CR_30min | TimeEL | Norte_Poly_12_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
NorEste_Poly_10_CR_30min | TimeEL | NorEste_Poly_10_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Este_BHDPE_20_CR_30min | TimeEL | Este_BHDPE_20_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Sur_Este_919_CR_30min | TimeEL | Sur_Este_919_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Sur_PbBHDPE10_CR_30min | TimeEL | Sur_PbBHDPE10_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
SurOeste_15HDPE_CR_30min | TimeEL | SurOeste_15HDPE_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Oeste_20HDPE_CR_30min | TimeEL | Oeste_20HDPE_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Naked_CR_30min | TimeEL | Naked_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
BF31_CR_30min | TimeEL | BF31_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
BF32_CR_30min | TimeEL | BF32_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
BF33_CR_30min | TimeEL | BF33_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
BF34_CR_30min | TimeEL | BF34_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 8.8889e-11 | 30 min | 1 | 1 | Counts per 30 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
Norte_Poly_12_CR_1h | TimeEL | Norte_Poly_12_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
NorEste_Poly_10_CR_1h | TimeEL | NorEste_Poly_10_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
Este_BHDPE_20_CR_1h | TimeEL | Este_BHDPE_20_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
Sur_Este_919_CR_1h | TimeEL | Sur_Este_919_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
Sur_PbBHDPE10_CR_1h | TimeEL | Sur_PbBHDPE10_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
SurOeste_15HDPE_CR_1h | TimeEL | SurOeste_15HDPE_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
Oeste_20HDPE_CR_1h | TimeEL | Oeste_20HDPE_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
Naked_CR_1h | TimeEL | Naked_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
BF31_CR_1h | TimeEL | BF31_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
BF32_CR_1h | TimeEL | BF32_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
BF33_CR_1h | TimeEL | BF33_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour
BF34_CR_1h | TimeEL | BF34_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 4.4444e-11 | 1 hour | 1 | 1 | Counts per 1 hour

## Groups
Groups