## Global
Modules
| Name | Type | Address | Controller | Crate | Clock source | Clock Freq | Buffer Size (Eventes) | Sync Method
| SIS3316_125 | SIS3316 | 4 | 192.168.10.12 | 0 | LEMO | 25 | 1000000

## Hard_SIS3316_125
Channels
|  |  |  | Trigger Parameters |  |  |  |  | Energy Filter Parameters | [5 empty] | Samples Parameters
| Chan Num | Name | Hist Enable | Peaking Time | Gap Time | Threshold | Pretrigger Delay | Trigger Gate | Peaking Time.1 | Gap Time.1 | Tau | Decimation | Energy Pickup | MAW Display Start Index | Number of Samples | Start Index | Sig Polarity | Int Trig | Ext Trig | Ext Veto | Ext Gate | Int Gate1 | Int Gate2 | Int Sum Trig | Gain | Termination | Offset | En MAW | En MAW Samples | Cf Valeues | Peak & Acc1-6 | Acc 7 8 | Time MAW | FIR | Peak | Cf Time | Time Stamp | Acc1 Start | Acc1 Length | Acc1 Range | Acc2 Start | Acc2 Length | Acc2 Range | Acc3 Start | Acc3 Length | Acc3 Range | Acc4 Start | Acc4 Length | Acc4 Range | Acc5 Start | Acc5 Length | Acc5 Range | Acc6 Start | Acc6 Length | Acc6 Range | Acc7 Start | Acc7 Length | Acc7 Range | Acc8 Start | Acc8 Length | Acc8 Range
| 0 | ch1_12cm_fast | 1 | 10 | 15 | 700 | 220 | 1000 | 100 | 200 | 260000 | 0 | 0 | 0 | 800 | 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 55000 | 1 | 1 | 0 | 0 | 0 | 1 | 800000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | ch2_6cm_epi | 1 | 10 | 15 | 620 | Force by 0 | Force by 0 | 100 | 200 | 500000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 55400 | 1 | 1 | 0 | 0 | 0 | 1 | 800000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 2 | ch3_pb_HE | 1 | 10 | 15 | 640 | Force by 0 | Force by 0 | 100 | 200 | 260000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 55400 | 1 | 1 | 0 | 0 | 0 | 1 | 800000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0
| 3 | ch4_naked_th | 1 | 10 | 15 | 640 | Force by 0 | Force by 0 | 100 | 200 | 500000 | 0 | 0 | 0 | Force by 0 | Force by 0 | + | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 55500 | 1 | 1 | 0 | 0 | 0 | 1 | 800000 | 0 | 0 | 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0 | Force by 0

## Cal_SIS3316_125
Calibration
| Name | Type | Hard Source | Par Source | Range Min | Range Max | Bins | Cal Factor | Cal Offset | Units | Make Hist
| ch1_12cm_fast_Cal | CalSpec | ch1_12cm_fast | EFIR | 0 | 15000 | 15000 | 0.047268 | -39.3235 | Energy [keV] | 1
| ch2_6cm_epi_Cal | CalSpec | ch2_6cm_epi | EFIR | 0 | 15000 | 15000 | 0.043831 | -38.2 | Energy [keV] | 1
| ch3_pb_HE_Cal | CalSpec | ch3_pb_HE | EFIR | 0 | 15000 | 15000 | 0.024107 | -46.795 | Energy [keV] | 1
| ch4_naked_th_Cal | CalSpec | ch4_naked_th | EFIR | 0 | 15000 | 15000 | 0.025111 | -29.8438 | Energy [keV] | 1

## Condition
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch1_12cm_fast_CR_1sec | TimeEL | ch1_12cm_fast_Cal | 140 | 820 | Timestamp | 0 | 600000 | 600000 | 4e-09 | 1 sec | 1 | 1 | Counts per 1 sec
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch1_12cm_fast_CR_1min | TimeEL | ch1_12cm_fast_Cal | 140 | 820 | Timestamp | 0 | 100000 | 100000 | 6.6667e-11 | 1 min | 1 | 1 | Counts per 1 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch1_12cm_fast_CR_15min | TimeEL | ch1_12cm_fast_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 4.4444e-12 | 15 min | 1 | 1 | Counts per 15 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch1_12cm_fast_CR_30min | TimeEL | ch1_12cm_fast_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 2.2222e-12 | 30 min | 1 | 1 | Counts per 30 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch1_12cm_fast_CR_1h | TimeEL | ch1_12cm_fast_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 1.1111e-12 | 1 hour | 1 | 1 | Counts per 1 hour
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch2_6cm_epi_CR_1sec | TimeEL | ch2_6cm_epi_Cal | 140 | 820 | Timestamp | 0 | 600000 | 600000 | 4e-09 | 1 sec | 1 | 1 | Counts per 1 sec
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch2_6cm_epi_CR_1min | TimeEL | ch2_6cm_epi_Cal | 140 | 820 | Timestamp | 0 | 100000 | 100000 | 6.6667e-11 | 1 min | 1 | 1 | Counts per 1 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch2_6cm_epi_CR_15min | TimeEL | ch2_6cm_epi_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 4.4444e-12 | 15 min | 1 | 1 | Counts per 15 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch2_6cm_epi_CR_30min | TimeEL | ch2_6cm_epi_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 2.2222e-12 | 30 min | 1 | 1 | Counts per 30 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch2_6cm_epi_CR_1h | TimeEL | ch2_6cm_epi_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 1.1111e-12 | 1 hour | 1 | 1 | Counts per 1 hour
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch3_pb_HE_CR_1sec | TimeEL | ch3_pb_HE_Cal | 140 | 820 | Timestamp | 0 | 600000 | 600000 | 4e-09 | 1 sec | 1 | 1 | Counts per 1 sec
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch3_pb_HE_CR_1min | TimeEL | ch3_pb_HE_Cal | 140 | 820 | Timestamp | 0 | 100000 | 100000 | 6.6667e-11 | 1 min | 1 | 1 | Counts per 1 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch3_pb_HE_CR_15min | TimeEL | ch3_pb_HE_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 4.4444e-12 | 15 min | 1 | 1 | Counts per 15 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch3_pb_HE_CR_30min | TimeEL | ch3_pb_HE_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 2.2222e-12 | 30 min | 1 | 1 | Counts per 30 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch3_pb_HE_CR_1h | TimeEL | ch3_pb_HE_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 1.1111e-12 | 1 hour | 1 | 1 | Counts per 1 hour
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch4_naked_th_CR_1sec | TimeEL | ch4_naked_th_Cal | 140 | 820 | Timestamp | 0 | 600000 | 600000 | 4e-09 | 1 sec | 1 | 1 | Counts per 1 sec
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch4_naked_th_CR_1min | TimeEL | ch4_naked_th_Cal | 140 | 820 | Timestamp | 0 | 100000 | 100000 | 6.6667e-11 | 1 min | 1 | 1 | Counts per 1 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch4_naked_th_CR_15min | TimeEL | ch4_naked_th_Cal | 140 | 820 | Timestamp | 0 | 10000 | 10000 | 4.4444e-12 | 15 min | 1 | 1 | Counts per 15 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch4_naked_th_CR_30min | TimeEL | ch4_naked_th_Cal | 140 | 820 | Timestamp | 0 | 5000 | 5000 | 2.2222e-12 | 30 min | 1 | 1 | Counts per 30 min
Time Plots
Name | Type | Source | Energy Min | Energy Max | Time source | Time Range Min | Time Range Max | Hist Bins | Calibration Factor | Units | Hist Enable | Rate calibration factor | Rate units
ch4_naked_th_CR_1h | TimeEL | ch4_naked_th_Cal | 140 | 820 | Timestamp | 0 | 2500 | 2500 | 1.1111e-12 | 1 hour | 1 | 1 | Counts per 1 hour

## Groups
Groups